| Parameter | Specification |
| --- | --- |
| Cleanliness Level | Class 100 (Federal 209E) |
| Colony Count | ≤0.5 pieces/dish/hour (90 mm culture plate) |
| Average Wind Speed | 0.25–0.45 m/s |
| Noise | ≤62 dB (A) |
| Vibration (Half Peak) | ≤0.5 μm (x, y, z direction) |
| Illuminance | ≥300 LX |
| Power Supply | AC 220V / 50Hz (single phase) |
| Maximum Power | 100 W |
| Weight | 80 kg |
| Inner Dimensions (W×D×H) | 700×550×580 mm |
| External Dimensions (W×D×H) | 1600×1600×1600 mm |
| Lamp Specification | 12W fluorescent/UV |
| Filter | High-efficiency filter, 50×1 |
| Configuration | Single-side |
| Applicable Number of People | 1 |
| Remarks | Standard control panel |